System Level Requirements:

- The system shall remotely sense temperatures.

- The system shall send remote temperature readings to a central node.

- The system shall sense remote temperatures at a user-defined interval.

- The system shall be capable of supporting at least 10 remote nodes.

- The system shall be capable of communicating between the central node and remote nodes via WiFi.

- The system shall be capable of communicating between the central node and remote nodes via USB.

- The system shall store the periodic temp reports to central database.

Central Controller Requirements:

- The central controller shall receive temperature readings from each remote node. (SLR 2)

- The central controller shall send interval settings to remote nodes. (SLR 3)

- The central controller shall be capable of supporting at least 10 remote nodes. (SLR 4)

- The central controller shall be capable of communicating with each remote node via WiFi. (SLR 5)

- The central controller shall be capable of communicating with each remote node via USB. (SLR 6)

- The controller shall store the periodic temp reports to central database. (SLR 7)

Remote Node Requirements:

- Each remote node shall sense temperatures. (SLR 1)

- Each remote node shall send temperature readings to central controller. (SLR 2)

- Each remote node shall sense temperatures at a user-defined interval. (SLR 3)

- Each remote node shall be capable of communicating with the central controller via WiFi. (SLR 5)

- The system shall be capable of communicating with the central controller via USB. (SLR 6)poi